## Slide 1: Presentation
Adam
&
Zichuan

## Slide 2: Hydraulic Design
Finding the mass flow rate from Fig 6.
1) Guess a mass flow rate
2) Run through the maths to get a given pressure loss
3) Use given flow characteristic to find the new mass
flow
4) Iterate over a range of guesses
5) Find intersection of guessed mass flow and returned
mass flow. This is the correct mass flow

## Slide 3: Pressure Losses

## Slide 4: Thermal Design – LMTD Method
1) Given the mass flow rates and heat exchanger geometries, calculate UA
2) Guess an initial , calculate , , and
3) Use and to calculate a new
4) Repeat 2 and 3, until the difference is tiny (bisection method)
5) Calculate Q and

## Slide 5: Thermal Design – NTU Method
Given the mass flow rates and heat exchanger geometries, calculate UA
2) Calculate NTU and
3) Calculate